Report of Site Visit to Allotments by ImpactU (Brentwood) accompanied by Cllr Gill for purpose of quoting to replace mains supply pipe and tap layout. 7th October 2021

As requested by the Clerk, Cllr Gill met with the Impact Representative.

The position of the existing meter was indicated, as well as the position of a possible replacement meter at the other allotment access, the current stopcock and the current layout of taps.

Sam, the representative, gave an opinion of the best route for replacing of pipes and taps, explaining also that the company had the ability to use a directional drilling machine rather than just a mole.

It was agreed that the quote provided would break down the elements of the work ie main feed from each direction, internal pipe system to 6 standpipes –overly adequate for the number of plots,-with either plain taps or key taps.

Also quotes would be given for directional drilling or mole use only; using directional drilling the access would be out of use for only one day, if mole used possibly up to 3 days.

Cllr SM Gill 8th October 2021