Report on examination of new allotment taps put in place in  March 2022, after report of damage to one tap in early June 2022.   Cllr  Gill attended  the site 15th  June2022.

The taps were photographed as shown below.

The taps are numbers 1, 2 and 3 for ease of reference, with tap no 1 being the first tap on the run ie nearest the tarmacked driveway.

It should be noted that taps 1 and 2 were not damaged when the correct sized keys were purchased by the parish council (ie which fitted inside the tap collars) and when keys were issued to Mr Burford & Mr Pound at the allotment site on 23rd April 2022.

(The comments in italics below are my thoughts as to why this damage may have been caused by allotment holders themselves)

Tap no 3.    NO damage has taken place to this standpipe.  NB Allotment holders here have  CPC keys

Tap No. 2 .  Vandalism has taken place at this Standpipe.  NB Some holders near have ‘own keys’

As can be seen, the top collar of the tap has been removed (Poss. to allow a spanner to be used??? Or poss use of a tap key of incorrect dimensions such as those the PC returned)

This tap drips thanks to protective collar being removed.

The Lower Stopcock tap has been also removed – this took place first (poss as someone thought it would work as a tapkey??)

Tap no 1. Vandalism has taken place at this standpipe     NB Some holders near have ‘own keys’

As can be clearly seen, the collar of this tap has been cut off, including taking a nick out the square metal inner.  (Poss. again to allow a spanner to be used??? Or poss. use of a tap key of incorrect dimensions such as those the PC returned?)

As was commented on at the CPC Meeting on 13th June, these actions amount to criminal damage to the Parish Council’s property.

I have not yet reported this to the police.

A quote would be required from Impact U for the cost of repair of the vamdalism – after not even three months of their work!